## Front Page
UPPER ENDOSCOPY
Directly Observed Practical Skills:
1 | Pre Procedure
2 | Intra Procedure
3 | Post Procedure
4 | Injectors
5 | APC
6 | Gold probe
7 | Haemostasis Clips
8 | Oesophageal Banding
9 | Percutaneous Endoscopic Gastrostomy (PEG)
10 | Dilatation - Savary / Bougie
11 | Dilatation - Balloon
12 | Achalasia Balloon Dilatation
13 | Nasojejunal Tube
14 | Oesophageal Stent
15 | Duodenal Stent
16 | Botox Injection
17 | Polyloop | Name:
18 | Over The Scope Clip (OTSC)
19 | Re-loading OTSC | Position:
20 | EMR - Duette
21 | HALO 90-360 | Date Commenced:
22 | EUS
23 | Single Balloon Enteroscopy | Date Completed:
24 | Oesophageal Varix Therapy

## Competency Score
This scoring system will be used when assessing all competencies for your practice within the unit
The rating scale has been adapted from Bondy (1983) and MidCentral District Health Board New Zealand Adult Respiratory Nursing Knowledge and Skills Framework (2010). The criteria for clinical evaluation cluster into three areas: standards of procedure, quality of performance and level of assistance required. Additionally, six descriptive levels of competency are identified: independent, not directly observed but independent, supervised, assisted, marginal and dependant.
Scale label | Score | Standard of procedure | Quality of performance | Assistance level required
Independent (I) | 5 | Safe | Proficient | No supporting cues required
|  | Accurate | Co-ordinated
|  | Effect - Achieved intended outcome | Confident
|  | Affect - Behaviour is appropriate to intended outcome | Expedient timeframe
Not directly observed but independent (XI) | 4 | Effect - Confident will achieve intended outcome in practical situation | Confident description of practical application | No supporting cues required
Proficient demonstrate with practice equipment
|  | Affect - Demonstrated behaviour appropriate to intended outcome in practical situation | Expedient timeframe
Supervised (S) | 4 | Safe | Proficient | Requires occasional supporting cues
|  | Accurate | Co-ordinated
|  | Effect - Achieved intended outcome | Confident
|  | Affect - Behaviour is appropriate to intended outcome | Within a reasonable time period
Assisted (A) | 3 | Safe | Proficient when assisted
|  | Accurate | Inefficient at times | Required frequent verbal cues
|  | Effect - Achieved most objectives for intended outcome | Unco-ordinated at times | Occasional physical directive cues
|  | Affect - Behaviour generally appropriate to context | Within a delayed time period | Some supportive cues
Marginal (M) | 2 | Safe only with guidance | Unskilled
|  | Not completely accurate | Inefficient | Required continuous verbal cues
|  | Effect - incomplete achievement of intended outcome | Unco-ordinated | Required frequent physical cues
|  | Affect - behaviour generally inappropriate to context | Prolonged time period
Dependent (D) | 1 | Effect - unsafe
|  | Affect - unable to demonstrate behaviour | Unable to demonstrate procedure/behaviour | Required continuous verbal cues
|  | Lack of insight into behaviour appropriate to context | Lacks confidence, coordination, efficiency | Required physical directive cues
*Recognition of prior learning: Certificates, demonstrations oral presentations may be used as evidence.

## Assessment
Upper GI Directly Observed Practical Skills Assessment
|  | Date | Competency Score | Staff Signature | Assessor Signature | Comment
1 | Pre Procedure
2 | Intra Procedure
3 | Post Procedure
4 | Injectors
5 | APC
6 | Gold probe
7 | Haemostasis Clips
8 | Oesophageal Banding
9 | Percutaneous Endoscopic Gastrostomy (PEG)
10 | Dilatation - Savary / Bougie
11 | Dilatation - Balloon
12 | Achalasia Balloon Dilatation
13 | Nasojejunal Tube
14 | Oesophageal Stent
15 | Duodenal Stent
16 | Botox Injection
17 | Polyloop
18 | Over The Scope Clip (OTSC)
19 | Re-loading OTSC
20 | EMR - Duette
21 | HALO 90-360
22 | EUS
23 | Single Balloon Enteroscopy
24 | Oesophageal Varix Therapy
Review Date:
Item number (1-14):
New competency score:
Staff Signature:
Assessor Signature:

## Booklet
Direct Observation of Practice | Date:
Pre-Procedure (procedure room) | I/S/XI/A/M/D | Comment/Review
To demonstrate competency in this area the nurse will:
Check the scheduled endoscopy list and prepare the procedure room accordingly.
Correctly select and prepare the endoscope required for an Upper GI procedure demonstrating an awareness of health and safety issues eg. wearing gloves and provide a rationale for actions.
Describe the functions of each of the valves of the endoscope.
Describe the functions of each of the channels of the endoscope.
Demonstrate the necessary endoscope checks that need to be carried out before it is used eg. suction, blow, flush, white balance.
Check all accessory equipment is available, operational and prepared for use eg. suction, oxygen, flushing pump, Co2 machine, diathermy unit and electronic reporting system.
Explain what medications are required for the scheduled endoscopy list and prepare according to DHB policy:
Intravenous: Miadzolam, Fentanyl, Pethidine
Others: Xylocaine spray (optional), Simethicone, CO2
Describe the side effects and contraindications of each medication above.
Correctly prepare and label the medications for each Upper GI procedure.
Identify which reversal agents may be required during the procedure.
Describe the side effects and contraindications of these reversal agents.
Identify the location of the reversal agents in the procedure room.
Identify additonal drugs that must be readily available in the room and explain why and how they are used. eg. Adrenaline.
Describe the side effects and contraindications of these emergency medications.
Identifies the documentation required for the endoscopy procedure is with the patient.
Checks the documentation with the patient is correct, prior to commencing the procedure eg. consent, completed pre procedure checklist.
Identifies any risk factors for the patient pre-procedure and discuss what action you would take to manage this risk in each situation eg. Anticoagulant or anti-platelet therapy, pacemaker or internal cardiac defibrillator or metal joint.
Is observed initiating and undertaking the correct 'time-out' process prior procedure as per DHB policy.
Identifies the patient monitoring required and can explain the rationale for each piece of equipment.
Is observed correctly attaching patient monitoring devices.
Is observed correctly positioning a patient for a lower endoscopy procedure.
Witness Initial
Direct Observation of Practice | Date:
Intra-Procedure (procedure room) | I/S/XI/A/M/D | Comment/Review
To demonstrate competency in this area the nurse will:
Identify which therapuetic tools may be required for a diagnostic procedure and prepare accordingly eg. injector, clip.
Demonstrate completion of the 'time-out' process and documents clearly on the Intra-Procedural Record.
Demonstrates correct documentation of the procedural medication on the Intra-Procedural Record as per legislated requirements.
Identifies which vital signs must be taken during the procedure and explains the rationale for this.
Identifies the frequency of vital observations during the procedure and provides rationale for this.
Demonstrates accurate documentation of vital signs, oxygen delivery and consciousness level on the Intra-Procedural Record eg. EWS, sedation score.
Is observed communicating any changes in vital signs to the Endoscopist.
Is observed providing appropriate reassurance to the patient during the procedure.
Is observed assessing the patient's comfort level during the procedure and provides the rationale for undertaking this assessment.
Demonstrates accurate documentation of the patient's comfort score on the Intra-Procedural Record as per DHB policy.
Is observed communicating any changes in the patient's comfort score to the endoscopist, followed by appropriate action as per DHB policy eg. Withdrawal of consent policy.
Identifies which specimen containers are required for a diagnostic procedure eg. Biopsy.
Demonstrates operation of 'cold' and 'hot' biopsy forceps and awareness of health and safety and infection control issues eg. rinsing formalin / scatter of bowel fluid.
Is observed labelling the specimens correctly as per DHB policy.
Witness Initial
Direct Observation of Practice | Date:
Post - Procedure (procedure room) | I/S/XI/A/M/D | Comment/Review
To demonstrate competency in this area the nurse will:
Disposes of all equipment in accordance with DHB policy.
Is observed removing excess biofilm from the endoscope post procedure as per DHB policy.
Demonstrates the necessary steps required before the endoscope is removed from the processor and explains rationale for actions.
Correctly transports endoscope to re-processing area as per DHB policy.
Is observed diposing of intravenous medications as per DHB policy and documents actions correctly.
Is observed completing the Intra-Proceural Record and other relevant documentation as per DHB policy before the patient is transferred to the recovery area.
Is observed cleaning the top of the procedural trolley with an appropriate cleaning solution prior to next patient entering the procedure room.
Explains what disposable items may be required for the next procedure and prepares them accordingly.
Is observed correctly setting up the endoscope, showing an awareness of health and safety issues eg. handling with gloves
Demonstrates the necessary checks and balances that need to be carried out before the endoscope is used and explains rationale for actions.
Prepares medications for next patient and labels them correctly as per DHB policy.
Witness Initial
Direct Observation of Practice | Date:
Injection Needle | I/S/XI/A/M/D | Comment/Review
To demonstrate competency in this the nurse will be observed:
Describes the rationale for using an injector.
Selects appropriate equipment when requested by endoscopist eg. long or short needle
Removes equipment safely from the packaging.
Inspects the product for any abnormalities to ensure suitable for use eg. moves needle in and out of sheath.
Is observed attaching the syringe to luer lock end of injector.
Prepares injector for use eg. primes with appropriate injection solution for purpose.
Is observed retracting needle before safely passing the injector to the Endoscopist.
Following endoscopist instructions to: extend needle
inject medium
retract needle
Communicates their actions to the Endoscopist throughout the procedure.
Ensures the needle has been fully retracted before safe removal from the endoscope.
Disposes of all equipment as per DHB policy.
Witness Initial
Direct Observation of Practice | Date:
Argon Plasma Coagulation (APC) | I/S/XI/A/M/D | Comment/Review
To demonstrate competency in this the nurse will be observed:
Describes the rationale for using Argon Plasma Coagulation.
Selects appropriate equipment when requested by the Endoscopist.
Safely removes equipment from the packaging.
Inspects the product for any abnormalities to ensure it is suitable for use.
Correctly prepares APC equipment for use. eg. Machine turned on / selects correct settings / argon gas cylinder is open.
Correctly tests APC probe prior to use.
Checks documentation to ensure patient has no known APC / diathermy risk factors eg. Metal joint
Correctly places diathermy plate on the patient eg. thigh.
Ensures the Endoscopist can safely access the diathermy foot pedal.
Safely passes the APC probe to the Endoscopist.
Safely activates the APC probe on instruction from the Endoscopist.
Safely de-activates the APC probe on instruction from the Endoscopist.
Describes the rationale for 'activation and 'de-activation' of the APC probe.
Disposes of all equipment as per DHB guidelines.
Ensures argon gas cylinder is turned off on completion of the procedure and explains the rationale for this action.
Witness Initial
Direct Observation of Practice | Date:
Gold Probe | I/S/XI/A/M/D | Comment/Review
To demonstrate competency in this the nurse will be observed:
Describe the rationale for using a Gold Probe catheter.
Select the appropriate equipment when requested by the Endoscopist eg. 7Fr or 10Fr Gold Probe.
Can describe the difference between the two sizes of Gold Probe Catheters available.
Removes equipment safely from the packaging.
Inspects the product for any abnormalities to ensure it is suitable for use.
Primes the Gold Probe catheter with normal saline or sterile H2O down the correct channel.
Prepares the gold probe catheter to DHB / manufacturer guidelines eg. uses the correct diathermy cable, selects the correct diathermy setting (bipolar).
Clearly communicates diathermy settings to the Endoscopist.
Is observed testing the Gold Probe to ensure it is operational prior to use eg. observe bubbling / steam.
Is observed testing that the needle extends and retracts into the sheath correctly prior to use.
Primes the needle with suitable injectable solution.
Safely passes the equipment to the Endoscopist with awareness of safety issues eg. Needle retracted.
Operates the injector correctly when requested by endoscopist and clearly communicates actions eg. 'flush'
'inject'
'retract needle'
Ensures needle is fully retracted before use of electrohaemostasis
Safely removes the Gold probe catheter from the endoscope, demonstrating an awareness of potential hazards.
Disposes of all equipment as per DHB policy.
Witness Initial
Direct Observation of Practice | Date:
Haemostasis Clips | I/S/XI/A/M/D | Comment/Review
To demonstrate competency in this the nurse will be observed:
Describes the rationale for using a haemostasis clip.
Selects appropriate equipment when requested by Endoscopist.
Removes equipment safely from the packaging.
Inspects the product for any abnormalities to ensure it is suitable for use.
Prepares the clip according to DHB / manufacturer guidelines.
Safely passes the clip to the Endoscopist.
Extends the clip out of the sheath.
Opens the clip when instructed by the Endoscopist eg. pushes the slider forward.
Rotates the clip, if instructed by the Endoscopist.
Deploys the clip when instructed by the Endoscopist eg. Pulls slider all the way to the thumb ring until it 'clicks'.
Is observed releasing the clip by pushing the slider forward.
Safely remove the clip from the endoscope.
Dispose of all equipment as per DHB policy.
Clearly ommunicates to reprocessing room staff that a 'haemostasis clip' has been used with this endoscope and explains why this is necessary.
Witness Initial
Direct Observation of Practice | Date:
Oesophageal Banding | I/S/XI/A/M/D | Comment/Review
To demonstrate competency in this area the nurse will be observed:
Describes the rationale for banding.
Selects appropriate equipment when requested by the Endoscopist.
Removes equipment safely from the packaging.
Inspects the product for any abnomalities to ensure it is suitable for use.
Is observed removing the biopsy cap from the endoscope.
Correctly prepares the equipment for use.
A. Ensures ligator handle is set to two way position if required.
Places the stem of the ligator handle through the cap and attaches to the biopsy channel.
Introduces the loading catheter through trip handle and down the endoscope.
Attaches the trigger cord to the hook on end of the loading catheter.
Withdraws the catheter back through the endoscope onto the spool of the handle.
Attaches the band barrel to the tip of the endoscope, ensuring it is correctly placed.
Places cord onto the spool of the handle.
Rotates the handle clockwise to wind the cord until taut.
B. Threads wire down the biopsy channel and inserts handle firmly into the channel. Secures in place with the velcro strap.
Threads the 'pulling' loop through the trip wire loop.
Grasp the trip wire at the 'spool' end and pull gently until ligating unit is firmly fitted on the end of the endoscope.
Lock the trip wire in place at the 'spool' and removes red flag and shrink wrap.
Deploys the band when instructed by the Endoscopist.
Safely removes all equipment from the patient / endoscope.
Disposes of al equipment as per DHB policy.
Witness Initial
Direct Observation of Practice | Date:
Percutaneous Endoscopic Gastrostomy (PEG) | I/S/XI/A/M/D | Comment/Review
To demonstrate competency in this the nurse will be observed:
Explain the rationale for PEG insertion based on patient referral.
Identifies any contra-indications prior to procedure eg. INR level, NBM status.
Can explain the risks of the procedure to the patient eg. perforation, bleeding.
Can explain the technical process for the PEG procedure in simple terms.
Identifies which disposable items are required for the procedure and prepares them for the PEG Nurse Surgical 1st Assist or Registered Medical officer (RMO).
Prepares the PEG insertion trolley with appropriate equipment as per DHB policy.
Inspects the product for any abnormalities to ensure it is suitable for use.
Maintains a sterile field if asisting with procedural set up.
List medications commonly used in procedure and the action + contraindications.
Is observed in technical assitant role assisting Endoscopist.
Is observed in patient airway role.
Ensure documentation is complete and product tracking is acurate.
Disposes of all equipment as per DHB policy.
Witness Initial
Direct Observation of Practice | Date:
Oesophageal Dilataion - Bougie / Savary | I/S/XI/A/M/D | Comment/Review
To demonstrate competency in this area the nurse will be observed:
Describes the rationale for a bougie / savary dilatation.
Locates appropriate equipment eg. Sterilised dilator / correct size / guidewires.
Identifies that the equipment has been correctly processed prior use eg. Dilator & wire both sterilised.
Selects the appropriate equipment when requested by the Endoscopist eg. Size.
Describes the markings on the guidewire (if relevant) before use.
Safely passes the equipment to the Endoscopist.
Assists the Endoscopist with the exchange of the endoscope over the guidewire.
Is observed assisting with the positioning of the guidewire if responsible for the patient's head/ airway.
Ensures the tip of the bougie / savary dilator is well lubricated.
Feeds the bougie / savary dilator over the wire and safely passes it to the Endoscopist.
Receives the bougie / savary dilator and guidewire from the Endoscopist post dilatation.
Ensures the bougies / savary dilator is wiped clean before transportation to the reprocessing area.
Clearly communicates to reprocessing room staff that a bougie / savary dilator and guidewire have been used on a patient and require sterilisation as per DHB policy.
Disposes of all equipment as per DHB policy.
Witness Initial
Direct Observation of Practice | Date:
Oesophageal Dilatation - TTS Balloon | I/S/XI/A/M/D | Comment/Review
To demonstrate competency in this area the nurse will be observed:
Desribes the rationale for a TTS balloon dilatation.
Selects the appropriate equipment when requested by the Endoscopist eg. CRE balloon.
Removes theequipment safely from the packaging.
Inspects the product for any abnormalities to ensure suitable for use.
Prepares the alliance syringe with an appropriate medium eg. water
Correctly attaches the alliance syringe to the inflation device.
Correctly connects the dilatation balloon to the inflation device.
Safely passes the equipment to the Endoscopist.
Inflates the balloon to requested pressure and communicates action to Endoscopist.
Maintains pressure at requested level and comunicates action to Endoscopist.
Monitors the time of inflation and explains rationale for this.
Deflates the balloon when requested by the Endoscopist.
Safely removes equipment from the endoscope.
Safely dismantles the syringe and inflation device.
Disposes of all equipment as per DHB policy.
Cleans inflation device as per DHB policy.
Witness Initial
Direct Observation of Practice | Date:
Oesophageal Dilatation - Achalasia Balloon | I/S/XI/A/M/D | Comment/Review
To demonstrate competency in this area the nurse will be observed:
Explains the rationale for an Achalasia Balloon Dilatation.
Outlines possible risks associated with this procedure and takes appropriate action eg. X-ray guidance
Selects the appropriate equipment when requested by the Endoscopist eg. Achalasia balloon & sphygmomnter
Removes the equipment safely from packaging.
Inspects the product for any abnormalities to ensure suitable for use.
Prepares the alliance syringe with an appropriate medium eg. water
Is observed attaching the alliance syringe to the inflation device.
Correctly connects the Achalasia balloon to the inflation device.
Safely passes the equipment to the Endoscopist.
Inflates the balloon to requested pressure and communicates action to Endoscopist.
Maintains pressure at requested level and comunicates actions to Endoscopist.
Monitors the time of inflation and explains rationale for this.
Deflates the balloon when requested by the Endoscopist.
Safely removes the balloon from the endoscope.
Safely dismantles the syringe and inflation device.
Disposes of all equipment as per DHB policy.
Cleans inflation device as per DHB policy.
Witness Initial
Direct Observation of Practice | Date:
Nasojejunal Tube | I/S/XI/A/M/D | Comment/Review
To demonstrate competency in this area the nurse will be observed:
Describes the rationale for a naso jujenal (NJ) tube based on the patient's referral.
Selects the appropriate equipment when requested by the Endoscopist.
Removes the equipment safely from packaging.
Inspects the product for any abnormalities to ensure it is suitable for use.
Ensures any additional equipment is available eg. grasping forceps.
Correctly prepares and loads wire into the NJ tube eg. flushes with sterile water / saline.
Assists Endoscopist with anaethetising nasal passage with local anaesthetic.
Safely passes the NJ tube to Endoscopist when requested.
Whilst the Endoscopist withdraws the endoscope ensure the NJ tube remains in position.
Is observed removing the guidewire from the NJ tube.
Assists the Endoscopist with the nasal transfer tube.
Completes remaining NJ tube requirements eg. Cuts to the desired external length / places barbed fitting on / secures in place.
Disposes of all used equipment as per DHB policy.
Witness Initial
Direct Observation of Practice | Date:
Oesophageal Stenting | I/S/XI/A/M/D | Comment/Review
To demonstrate competency in this area the nurse will be observed:
Describes the rationale for an oesophageal stent based on the patient's referral.
Clearly identifies precautions required for this procedure and takes apropriate action eg. PPE / Radiological gowns / Imaging signs.
Selects appropriate equipment when requested by Endoscopist eg. Clips, contrast, guidewire, catheter or sphinctertome.
Correctly prepares accessory equipment when requested by Endoscopist eg. Flushes guidewire.
Safely passes accessory equipment items to Endoscopist when requested.
Identifies stricture on radiological image.
Is observed assisting Endoscopist to position the guidewire.
Is observed assisting the Endoscopist with endoscope withdrawal over the guidewire whilst maintaining position eg. Backtension on guidewire.
Clearly communicates oesphageal stent measurements to the Endoscopist prior to opening.
Removes the equipment safely from packaging when instructed.
Inpsects the product for any abnormalities to it is ensure suitable for use.
Prepares the selected oesphageal stent for insertion eg. Removes metal wires, flushes
Is observed placing backtension on the guidewire to assist the Endoscopist with stent placement.
Is observed deploying stent, if requested by Endoscopist, clearly communicating actions.
Completes all stent documentation as per DHB policy.
Disposes of all equipment as per DHB policy.
Witness Initial
Direct Observation of Practice | Date:
Duodenal Stenting | I/S/XI/A/M/D | Comment/Review
To demonstrate competency in this area the nurse will be observed:
Describes the rationale for a duodenal stent based on the patient's referral.
Clearly identifies precautions required for this procedure and takes apropriate action eg. PPE / Radiological gowns / Imaging signs.
Selects appropriate equipment when requested by Endoscopist eg. Clips, contrast, guidewire, catheter or sphinctertome.
Correctly prepares accessory equipment when requested by Endoscopist eg. Flushes guidewire.
Safely passes accessory equipment items to Endoscopist when requested.
Is observed assisting Endoscopist to position the guidewire eg, uses clips / contrast as required.
Clearly communicates duodenal stent measurements to the Endoscopist prior to opening.
Removes the duodenal stent safely from packaging.
Inpsects the product for any abnormalities to it is ensure suitable for use.
Prepares the selected duodenal stent for insertion over the guidewire eg. Removes metal tags
Is observed placing tension on the guidewire to assist with positioning of the duodenal stent.
Is observed deploying the stent, if requested by the Endoscopist, communicating actions.
Completes all stent documentation as per DHB policy.
Disposes of all equipment as per DHB policy.
Witness Initial
Direct Observation of Practice | Date:
Botulium Injection | I/S/XI/A/M/D | Comment/Review
To demonstrate competency in this area the nurse will be observed:
Describes the rationale for botulium injections based on the patient's referral.
Selects the correct medication and equipment.
Is observed completing the 5 'Rights' steps.
Identifies side effects and contraindications of botulium medication.
Safely prepares the botulium injection according to DHB protocol.
Removes the injection needle safely from the packaging.
Inspects the product for any abnormalities to ensure it is suitable for use.
Adjusts the needle length if requested by the Endoscopist.
Ensures the needle extends and retracts smoothly into the outer sheath prior to use.
Prepares equipment correctly eg. Attaches luer lok and primes needle.
Safely passes the injection needle to the Endoscopist.
Follows the Endoscopist's instructions to: extend needle
inject solution
retract needle
Clearly communicates actions to the Endoscopist throughout the procedure.
Safely removes the injection needle from the endoscope.
Completes required documentation eg. Medication chart
Disposes of all equipment as per DHB policy.
Witness Initial
Direct Observation of Practice | Date:
Sclerotherapy | I/S/XI/A/M/D | Comment/Review
To demonstrate competency in this area the nurse will be observed:
Describes the rationale for sclerotherapy based on the patient's referral.
Selects the appropriate equipment when requested by the Endoscopist eg. Lipiodol & injector
Safely prepares the sclerotherapy injection as per DHB policy.
Safely removes the injection needle from the packaging.
Inspects the product for any abnormalities to ensure it is suitable for use.
Adjusts the needle to the required length if requested by the Endoscopist.
Ensures the needle extends and retracts smoothly into the outer sheath prior to use.
Prepares equipment correctly eg. Attaches luer lok and primes needle.
Safely passes the injection needle to the Endoscopist.
Follows the Endoscopist's instructions to: extend needle
inject solution
retract needle
Clearly communicates actions to the Endoscopist throughout the procedure.
Safely removes the injection needle from the endoscope.
Disposes of all equipment as per DHB policy.
Witness Initial
Direct Observation of Practice | Date:
Polyloop | I/S/XI/A/M/D | Comment/Review
To demonstrate competency in this area the nurse will be observed:
Describes the rationale for using a polyloop.
Selects the appropriate equipment when requested by Endoscopist.
Removes the equipment safely from packaging.
Inspects the product for any abnormalities to it is ensure suitable for use.
Correctly prepares the polyloop for use eg. Re-sheaths the loop by pushing 'yellow' stopper forward (away from handle).
Safely passes the equipment to the Endoscopist.
Operates the Polyloop when instructed by the Endoscopist eg. un-sheaths the loop by pulling the 'yellow' stopper back toward the handle.
Uses clear communication to assist the Endoscopist to position the Polyloop over the gastric polyp.
Deploys the Polyloop on instruction from the Endoscopist eg. slowly tightens the loop until the sheath is against the polyp, communicating actions continuously.
Is observed alternating 'tightening' around the polyp by 'pulling' the handle and slider back and 'pulling' the yellow stopper back, communicating actions continuously.
Describes what will occur as a result of this action eg. The polyp 'blanches' indicating positioning has been successful.
Is observed detaching the Polyloop by opening the handle fully, when instructed by the Endoscopist.
Disposes of all equipment safely as per DHB policy.
Witness Initial
Direct Observation of Practice | Date:
Over The Scope Clip (OTSC) | I/S/XI/A/M/D | Comment/Review
To demonstrate competency in this area the nurse will be observed:
Describes the rationale for using an OTSC.
Locates appropriate equipment eg. Correct size for oesophagus / endoscope
Safely removes equipment from the packaging.
Inpsects the product for any abnormalities to it is ensure suitable for use.
Correctly assembles the OTSC as per manufacturers instruction / DHB guidelines.
Is observed inserting the 'hand wheel' into the accessory channel of the endoscope and attaches velcro strap.
Is observed using grasping forceps to collect the 'trigger' cord from the accessory channel and threading it up and through the 'hand wheel'.
Is observed placing the 'trigger' cord into the 'wheel handle' gap and removes the slack.
Correctly fits the applicator cap snuggly on the end of the endoscope.
Correctly tightens the 'trigger' cord until gentle tension is felt.
On completion of the procedure, safely removes all equipment from the endoscope.
Disposes of all equipment as per DHB policy.
Witness Initial
Direct Observation of Practice | Date:
Re-loading an Over The Scope Clip (OTSC) | I/S/XI/A/M/D | Comment/Review
To demonstrate competency in this area the nurse will be observed:
Locates appropriate equipment eg. Correct size for oesophagus / endoscope
Safely removes equipment from the packaging.
Inpsects the product for any abnormalities to it is ensure suitable for use.
Correctly assembles the reloader as per manufacturers instruction / DHB guidelines.
On completion of the procedure, safely removes all equipment from the endoscope.
Disposes of all equipment as per DHB policy.
Witness Initial
Direct Observation of Practice | Date:
Endoscopic Mucosal Resection (EMR) - Duette | I/S/XI/A/M/D | Comment/Review
To demonstrate competency in this area the nurse will be observed:
Describe the rationale for using the EMR technique.
Selects the appropriate equipment when requested by endoscopist eg. Duette kit + disposable accessories
Removes the equipment safely from packaging.
Inspects the product for any abnormalities to ensure it is suitable for use.
Tests the equipment prior to use following manufacturer / DHB guidelines.
Prepares solution for injection as per DHB policy eg. Methylene Blue solution
Prepares syringe for injection as per DHB policy. eg. 9mls methylene blue solution + 1ml adrenaline = 10ml syringe.
Prepares injector with solution for injection as requested by the Endoscopist.
Correctly attaches ligator handle to endoscope eg. Removes biopsy button and inserts ligator into channel
Correctly prepares the loading catheter and attaches the trigger cord for use.
Correctly attaches the bander to the tip of the endoscope to optimise views and prepares for use.
Safely passes the equipment to the Endoscopist with awareness of safety issues.
Correctly operates the injector when requested by endoscopist and clearly communicates actions.
Ensures needle is re-sheathed prior to retracting into the endoscope.
Identifies when tissue ligation has occurred and safely passes diathermy 'snare' to Endoscopist.
Ensures patient has no known diathermy risks and has a diathermy plate in correct location eg. Thigh
Attaches the correct diathermy cable and selects the correct / mode setting on the diathermy machine.
Communicates diathermy settings to Endoscopist.
Operates diathermy snare as instructed by Endoscopist and clearly communicates actions.
Demonstrates knowledge on tissue collection.
Safely removes equipment from the endoscope demonstrating an awareness of potential hazards.
Disposes of all equipment as per DHB policy.
Witness Initial
Direct Observation of Practice | Date:
HALO 90-360 | I/S/XI/A/M/D | Comment/Review
To demonstrate competency in this area the nurse will be observed:
Describe the rationale for focal ablation based on the patient's referral.
Describe the contraindications for focal ablation (5 examples).
Outlines the precautions required when using focal ablation and appropriate actions to reduce risk eg. Cardiac implants, previous oesophageal surgery, strictures or ulceration.
Selects the appropriate equipment when requested by endoscopist eg. HALO 90 or 360 Catheter.
Describes the difference between HALO 90 and 360 catheters.
Safely prepares accessory equipment as required eg. N-Acetyl cysteine / 20ml slip tip syringes / sterile water / diposable EMR cap for HALO 360.
Removes the equipment safely from packaging.
Inspects the product for any abnormalities to ensure it is suitable for use.
Tests the equipment prior to use following manufacturer / DHB guidelines.
Safely prepares ablation generator and tests prior to use eg. Selects correct energy density
Safely passes the Endoscopist the ablation catheter when requested eg. Ensures cable is disconnected to prevent accidental burning on intubation.
Identifies how many burns have been delivered and communicates information to Endoscopist.
Safely disconnects ablation cable to remove equipment from patient / endoscope.
Safely cleans ablation catheter with appropriate solution (sterile water) and prepares for second treatment if required.
Identifies how many full segment burns can be undertaken in one session and decribes the rationale for this eg. Maximum of two.
Safely disposes of all equipment as per DHB policy.
Outlines complications post procedure and postprocedural care.
Describes medications appropriate to relieve posr procedural pain eg. Anti-secretory medications, IV paracetamol and IV anti-emetics.
Provides appropriate discharge information for the patient.
Witness Initial
Direct Observation of Practice | Date:
Endoscopic Ultrasound (EUS) | I/S/XI/A/M/D | Comment/Review
To demonstrate competency in this area the nurse will be observed:
Describe the rationale for using the EUS technique.
Selects the appropriate equipment when requested by endoscopist eg. Correct EUS endoscope (linear or radial) and accessories.
Correctly prepares EUS processor following manufactuer / DHB guidelines.
Removes the equipment safely from packaging.
Inspects the product for any abnormalities to ensure it is suitable for use.
Tests the equipment prior to use following manufacturer / DHB guidelines.
Correctly prepares the endoscope with imaging balloon.
Test the imaging balloon prior to use.
Safely removes equipment from the endoscope demonstrating an awareness of potential hazards.
Disposes of all equipment as per DHB policy.
Witness Initial
Direct Observation of Practice | Date:
Single Balloon Enteroscopy | I/S/XI/A/M/D | Comment/Review
To demonstrate competency in this area the nurse will be observed:
Describes the rationale for undertaking a single balloon enteroscopy.
Selects the appropriate equipment when requested by the Endoscopist eg. Single Balloon Splinting Tube, Sterile Water, Syringe and Inflation Pump.
Removes the equipment safely from the packaging.
Inspects the product for any abnormalities to ensure suitable for use.
Correctly prepares the SBE for use eg. Lubricates the inner channel of the SB tube with sterile H2O / prepares inflation processor / attaches control cover.
Safely passes the equipment / endoscope to the Endoscopist.
Is observed assisting the Endoscopist eg. Holds splinting tube in place whilst Endoscopist advances endoscope.
Safely removes the splinting tube from the endoscope.
Disposes of all equipment as per DHB policy.
Cleans the inflation processor as per DHB policy.
Witness Initial
Direct Observation of Practice | Date:
Oesophageal Varix Treatment - Linton Nachlas tube | I/S/XI/A/M/D | Comment/Review
To demonstrate competency in this area the nurse will be observed:
Describe the rationale for inserting a Linton Nachlas Tube based on the patient's referral.
Identifies additional equipment that is required prior procedure eg. Image intensifier
Identifies and wears appropriate PPE required for the procedure eg. Radiological aprons.
Selects appropriate equipment when requested by endoscopist eg. 50ml slip tip and catheter syringes
Removes equipment safely from the packaging.
Inspects the product for any abnormalities to ensure suitable for use.
Safely passes the equipment to the Endoscopist when requested.
Clearly identifies the inflation catheter eg. 50ml leur slip tip syringe.
Safely attaches artery forceps to inflation catheter.
Clearly identifies the aspiration catheter eg. 50ml catheter tip syringe.
Correctly attaches low pressure suction to aspirate lumen.
Clearly communicates actions to the Endoscopist throughout the procedure.
Disposes of all equipment as per DHB policy.
Witness Initial

## Pre Procedure
Direct Observation of Practice | Date:
Pre-Procedure (procedure room) | I/S/XI/A/M/D | Comment/Review
To demonstrate competency in this area the nurse will:
Check the scheduled endoscopy list and prepare the procedure room accordingly.
Correctly select and prepare the endoscope required for an Upper GI procedure demonstrating an awareness of health and safety issues eg. wearing gloves and provide a rationale for actions.
Describe the functions of each of the valves of the endoscope.
Describe the functions of each of the channels of the endoscope.
Demonstrate the necessary endoscope checks that need to be carried out before it is used eg. suction, blow, flush, white balance.
Check all accessory equipment is available, operational and prepared for use eg. suction, oxygen, flushing pump, Co2 machine, diathermy unit and electronic reporting system.
Explain what medications are required for the scheduled endoscopy list and prepare according to DHB policy:
Intravenous: Miadzolam, Fentanyl, Pethidine
Others: Xylocaine spray (optional), Simethicone, CO2
Describe the side effects and contraindications of each medication above.
Correctly prepare and label the medications for each Upper GI procedure.
Identify which reversal agents may be required during the procedure.
Describe the side effects and contraindications of these reversal agents.
Identify the location of the reversal agents in the procedure room.
Identify additonal drugs that must be readily available in the room and explain why and how they are used. eg. Adrenaline.
Describe the side effects and contraindications of these emergency medications.
Identifies the documentation required for the endoscopy procedure is with the patient.
Checks the documentation with the patient is correct, prior to commencing the procedure eg. consent, completed pre procedure checklist.
Identifies any risk factors for the patient pre-procedure and discuss what action you would take to manage this risk in each situation eg. Anticoagulant or anti-platelet therapy, pacemaker or internal cardiac defibrillator or metal joint.
Is observed initiating and undertaking the correct 'time-out' process prior procedure as per DHB policy.
Identifies the patient monitoring required and can explain the rationale for each piece of equipment.
Is observed correctly attaching patient monitoring devices.
Is observed correctly positioning a patient for a lower endoscopy procedure.
Witness Initial

## Intra Procedure
Direct Observation of Practice | Date:
Intra-Procedure (procedure room) | I/S/XI/A/M/D | Comment/Review
To demonstrate competency in this area the nurse will:
Identify which therapuetic tools may be required for a diagnostic procedure and prepare accordingly eg. injector, clip.
Demonstrate completion of the 'time-out' process and documents clearly on the Intra-Procedural Record.
Demonstrates correct documentation of the procedural medication on the Intra-Procedural Record as per legislated requirements.
Identifies which vital signs must be taken during the procedure and explains the rationale for this.
Identifies the frequency of vital observations during the procedure and provides rationale for this.
Demonstrates accurate documentation of vital signs, oxygen delivery and consciousness level on the Intra-Procedural Record eg. EWS, sedation score.
Is observed communicating any changes in vital signs to the Endoscopist.
Is observed providing appropriate reassurance to the patient during the procedure.
Is observed assessing the patient's comfort level during the procedure and provides the rationale for undertaking this assessment.
Demonstrates accurate documentation of the patient's comfort score on the Intra-Procedural Record as per DHB policy.
Is observed communicating any changes in the patient's comfort score to the endoscopist, followed by appropriate action as per DHB policy eg. Withdrawal of consent policy.
Identifies which specimen containers are required for a diagnostic procedure eg. Biopsy.
Demonstrates operation of 'cold' and 'hot' biopsy forceps and awareness of health and safety and infection control issues eg. rinsing formalin / scatter of bowel fluid.
Is observed labelling the specimens correctly as per DHB policy.
Witness Initial

## Post Procedure
Direct Observation of Practice | Date:
Post - Procedure (procedure room) | I/S/XI/A/M/D | Comment/Review
To demonstrate competency in this area the nurse will:
Disposes of all equipment in accordance with DHB policy.
Is observed removing excess biofilm from the endoscope post procedure as per DHB policy.
Demonstrates the necessary steps required before the endoscope is removed from the processor and explains rationale for actions.
Correctly transports endoscope to re-processing area as per DHB policy.
Is observed diposing of intravenous medications as per DHB policy and documents actions correctly.
Is observed completing the Intra-Proceural Record and other relevant documentation as per DHB policy before the patient is transferred to the recovery area.
Is observed cleaning the top of the procedural trolley with an appropriate cleaning solution prior to next patient entering the procedure room.
Explains what disposable items may be required for the next procedure and prepares them accordingly.
Is observed correctly setting up the endoscope, showing an awareness of health and safety issues eg. handling with gloves
Demonstrates the necessary checks and balances that need to be carried out before the endoscope is used and explains rationale for actions.
Prepares medications for next patient and labels them correctly as per DHB policy.
Witness Initial

## Injectors
Direct Observation of Practice | Date:
Injection Needle | I/S/XI/A/M/D | Comment/Review
To demonstrate competency in this the nurse will be observed:
Describes the rationale for using an injector.
Selects appropriate equipment when requested by endoscopist eg. long or short needle
Removes equipment safely from the packaging.
Inspects the product for any abnormalities to ensure suitable for use eg. moves needle in and out of sheath.
Is observed attaching the syringe to luer lock end of injector.
Prepares injector for use eg. primes with appropriate injection solution for purpose.
Is observed retracting needle before safely passing the injector to the Endoscopist.
Following endoscopist instructions to: extend needle
inject medium
retract needle
Communicates their actions to the Endoscopist throughout the procedure.
Ensures the needle has been fully retracted before safe removal from the endoscope.
Disposes of all equipment as per DHB policy.
Witness Initial

## APC
Direct Observation of Practice | Date:
Argon Plasma Coagulation (APC) | I/S/XI/A/M/D | Comment/Review
To demonstrate competency in this the nurse will be observed:
Describes the rationale for using Argon Plasma Coagulation.
Selects appropriate equipment when requested by the Endoscopist.
Safely removes equipment from the packaging.
Inspects the product for any abnormalities to ensure it is suitable for use.
Correctly prepares APC equipment for use. eg. Machine turned on / selects correct settings / argon gas cylinder is open.
Correctly tests APC probe prior to use.
Checks documentation to ensure patient has no known APC / diathermy risk factors eg. Metal joint
Correctly places diathermy plate on the patient eg. thigh.
Ensures the Endoscopist can safely access the diathermy foot pedal.
Safely passes the APC probe to the Endoscopist.
Safely activates the APC probe on instruction from the Endoscopist.
Safely de-activates the APC probe on instruction from the Endoscopist.
Describes the rationale for 'activation and 'de-activation' of the APC probe.
Disposes of all equipment as per DHB guidelines.
Ensures argon gas cylinder is turned off on completion of the procedure and explains the rationale for this action.
Witness Initial

## Gold Probe
Direct Observation of Practice | Date:
Gold Probe | I/S/XI/A/M/D | Comment/Review
To demonstrate competency in this the nurse will be observed:
Describe the rationale for using a Gold Probe catheter.
Select the appropriate equipment when requested by the Endoscopist eg. 7Fr or 10Fr Gold Probe.
Can describe the difference between the two sizes of Gold Probe Catheters available.
Removes equipment safely from the packaging.
Inspects the product for any abnormalities to ensure it is suitable for use.
Primes the Gold Probe catheter with normal saline or sterile H2O down the correct channel.
Prepares the gold probe catheter to DHB / manufacturer guidelines eg. uses the correct diathermy cable, selects the correct diathermy setting (bipolar).
Clearly communicates diathermy settings to the Endoscopist.
Is observed testing the Gold Probe to ensure it is operational prior to use eg. observe bubbling / steam.
Is observed testing that the needle extends and retracts into the sheath correctly prior to use.
Primes the needle with suitable injectable solution.
Safely passes the equipment to the Endoscopist with awareness of safety issues eg. Needle retracted.
Operates the injector correctly when requested by endoscopist and clearly communicates actions eg. 'flush'
'inject'
'retract needle'
Ensures needle is fully retracted before use of electrohaemostasis
Safely removes the Gold probe catheter from the endoscope, demonstrating an awareness of potential hazards.
Disposes of all equipment as per DHB policy.
Witness Initial

## Haemostasis Clips
Direct Observation of Practice | Date:
Haemostasis Clips | I/S/XI/A/M/D | Comment/Review
To demonstrate competency in this the nurse will be observed:
Describes the rationale for using a haemostasis clip.
Selects appropriate equipment when requested by Endoscopist.
Removes equipment safely from the packaging.
Inspects the product for any abnormalities to ensure it is suitable for use.
Prepares the clip according to DHB / manufacturer guidelines.
Safely passes the clip to the Endoscopist.
Extends the clip out of the sheath.
Opens the clip when instructed by the Endoscopist eg. pushes the slider forward.
Rotates the clip, if instructed by the Endoscopist.
Deploys the clip when instructed by the Endoscopist eg. Pulls slider all the way to the thumb ring until it 'clicks'.
Is observed releasing the clip by pushing the slider forward.
Safely remove the clip from the endoscope.
Dispose of all equipment as per DHB policy.
Clearly ommunicates to reprocessing room staff that a 'haemostasis clip' has been used with this endoscope and explains why this is necessary.
Witness Initial

## Oesophageal Banding
Direct Observation of Practice | Date:
Oesophageal Banding | I/S/XI/A/M/D | Comment/Review
To demonstrate competency in this area the nurse will be observed:
Describes the rationale for banding.
Selects appropriate equipment when requested by the Endoscopist.
Removes equipment safely from the packaging.
Inspects the product for any abnomalities to ensure it is suitable for use.
Is observed removing the biopsy cap from the endoscope.
Correctly prepares the equipment for use.
A. Ensures ligator handle is set to two way position if required.
Places the stem of the ligator handle through the cap and attaches to the biopsy channel.
Introduces the loading catheter through trip handle and down the endoscope.
Attaches the trigger cord to the hook on end of the loading catheter.
Withdraws the catheter back through the endoscope onto the spool of the handle.
Attaches the band barrel to the tip of the endoscope, ensuring it is correctly placed.
Places cord onto the spool of the handle.
Rotates the handle clockwise to wind the cord until taut.
B. Threads wire down the biopsy channel and inserts handle firmly into the channel. Secures in place with the velcro strap.
Threads the 'pulling' loop through the trip wire loop.
Grasp the trip wire at the 'spool' end and pull gently until ligating unit is firmly fitted on the end of the endoscope.
Lock the trip wire in place at the 'spool' and removes red flag and shrink wrap.
Deploys the band when instructed by the Endoscopist.
Safely removes all equipment from the patient / endoscope.
Disposes of al equipment as per DHB policy.
Witness Initial

## PEG
Direct Observation of Practice | Date:
Percutaneous Endoscopic Gastrostomy (PEG) | I/S/XI/A/M/D | Comment/Review
To demonstrate competency in this the nurse will be observed:
Explain the rationale for PEG insertion based on patient referral.
Identifies any contra-indications prior to procedure eg. INR level, NBM status.
Can explain the risks of the procedure to the patient eg. perforation, bleeding.
Can explain the technical process for the PEG procedure in simple terms.
Identifies which disposable items are required for the procedure and prepares them for the PEG Nurse Surgical 1st Assist or Registered Medical officer (RMO).
Prepares the PEG insertion trolley with appropriate equipment as per DHB policy.
Inspects the product for any abnormalities to ensure it is suitable for use.
Maintains a sterile field if asisting with procedural set up.
List medications commonly used in procedure and the action + contraindications.
Is observed in technical assitant role assisting Endoscopist.
Is observed in patient airway role.
Ensure documentation is complete and product tracking is acurate.
Disposes of all equipment as per DHB policy.
Witness Initial

## Dilatation - Savary
Direct Observation of Practice | Date:
Oesophageal Dilataion - Bougie / Savary | I/S/XI/A/M/D | Comment/Review
To demonstrate competency in this area the nurse will be observed:
Describes the rationale for a bougie / savary dilatation.
Locates appropriate equipment eg. Sterilised dilator / correct size / guidewires.
Identifies that the equipment has been correctly processed prior use eg. Dilator & wire both sterilised.
Selects the appropriate equipment when requested by the Endoscopist eg. Size.
Describes the markings on the guidewire (if relevant) before use.
Safely passes the equipment to the Endoscopist.
Assists the Endoscopist with the exchange of the endoscope over the guidewire.
Is observed assisting with the positioning of the guidewire if responsible for the patient's head/ airway.
Ensures the tip of the bougie / savary dilator is well lubricated.
Feeds the bougie / savary dilator over the wire and safely passes it to the Endoscopist.
Receives the bougie / savary dilator and guidewire from the Endoscopist post dilatation.
Ensures the bougies / savary dilator is wiped clean before transportation to the reprocessing area.
Clearly communicates to reprocessing room staff that a bougie / savary dilator and guidewire have been used on a patient and require sterilisation as per DHB policy.
Disposes of all equipment as per DHB policy.
Witness Initial

## Dilatation - Balloon
Direct Observation of Practice | Date:
Oesophageal Dilatation - TTS Balloon | I/S/XI/A/M/D | Comment/Review
To demonstrate competency in this area the nurse will be observed:
Desribes the rationale for a TTS balloon dilatation.
Selects the appropriate equipment when requested by the Endoscopist eg. CRE balloon.
Removes theequipment safely from the packaging.
Inspects the product for any abnormalities to ensure suitable for use.
Prepares the alliance syringe with an appropriate medium eg. water
Correctly attaches the alliance syringe to the inflation device.
Correctly connects the dilatation balloon to the inflation device.
Safely passes the equipment to the Endoscopist.
Inflates the balloon to requested pressure and communicates action to Endoscopist.
Maintains pressure at requested level and comunicates action to Endoscopist.
Monitors the time of inflation and explains rationale for this.
Deflates the balloon when requested by the Endoscopist.
Safely removes equipment from the endoscope.
Safely dismantles the syringe and inflation device.
Disposes of all equipment as per DHB policy.
Cleans inflation device as per DHB policy.
Witness Initial

## Achalasia Balloon Dilatation
Direct Observation of Practice | Date:
Oesophageal Dilatation - Achalasia Balloon | I/S/XI/A/M/D | Comment/Review
To demonstrate competency in this area the nurse will be observed:
Explains the rationale for an Achalasia Balloon Dilatation.
Outlines possible risks associated with this procedure and takes appropriate action eg. X-ray guidance
Selects the appropriate equipment when requested by the Endoscopist eg. Achalasia balloon & sphygmomnter
Removes the equipment safely from packaging.
Inspects the product for any abnormalities to ensure suitable for use.
Prepares the alliance syringe with an appropriate medium eg. water
Is observed attaching the alliance syringe to the inflation device.
Correctly connects the Achalasia balloon to the inflation device.
Safely passes the equipment to the Endoscopist.
Inflates the balloon to requested pressure and communicates action to Endoscopist.
Maintains pressure at requested level and comunicates actions to Endoscopist.
Monitors the time of inflation and explains rationale for this.
Deflates the balloon when requested by the Endoscopist.
Safely removes the balloon from the endoscope.
Safely dismantles the syringe and inflation device.
Disposes of all equipment as per DHB policy.
Cleans inflation device as per DHB policy.
Witness Initial

## Nasojujenal Tube
Direct Observation of Practice | Date:
Nasojejunal Tube | I/S/XI/A/M/D | Comment/Review
To demonstrate competency in this area the nurse will be observed:
Describes the rationale for a naso jujenal (NJ) tube based on the patient's referral.
Selects the appropriate equipment when requested by the Endoscopist.
Removes the equipment safely from packaging.
Inspects the product for any abnormalities to ensure it is suitable for use.
Ensures any additional equipment is available eg. grasping forceps.
Correctly prepares and loads wire into the NJ tube eg. flushes with sterile water / saline.
Assists Endoscopist with anaethetising nasal passage with local anaesthetic.
Safely passes the NJ tube to Endoscopist when requested.
Whilst the Endoscopist withdraws the endoscope ensure the NJ tube remains in position.
Is observed removing the guidewire from the NJ tube.
Assists the Endoscopist with the nasal transfer tube.
Completes remaining NJ tube requirements eg. Cuts to the desired external length / places barbed fitting on / secures in place.
Disposes of all used equipment as per DHB policy.
Witness Initial

## Oesophageal Stent
Direct Observation of Practice | Date:
Oesophageal Stenting | I/S/XI/A/M/D | Comment/Review
To demonstrate competency in this area the nurse will be observed:
Describes the rationale for an oesophageal stent based on the patient's referral.
Clearly identifies precautions required for this procedure and takes apropriate action eg. PPE / Radiological gowns / Imaging signs.
Selects appropriate equipment when requested by Endoscopist eg. Clips, contrast, guidewire, catheter or sphinctertome.
Correctly prepares accessory equipment when requested by Endoscopist eg. Flushes guidewire.
Safely passes accessory equipment items to Endoscopist when requested.
Identifies stricture on radiological image.
Is observed assisting Endoscopist to position the guidewire.
Is observed assisting the Endoscopist with endoscope withdrawal over the guidewire whilst maintaining position eg. Backtension on guidewire.
Clearly communicates oesphageal stent measurements to the Endoscopist prior to opening.
Removes the equipment safely from packaging when instructed.
Inpsects the product for any abnormalities to it is ensure suitable for use.
Prepares the selected oesphageal stent for insertion eg. Removes metal wires, flushes
Is observed placing backtension on the guidewire to assist the Endoscopist with stent placement.
Is observed deploying stent, if requested by Endoscopist, clearly communicating actions.
Completes all stent documentation as per DHB policy.
Disposes of all equipment as per DHB policy.
Witness Initial

## Duodenal Stent
Direct Observation of Practice | Date:
Duodenal Stenting | I/S/XI/A/M/D | Comment/Review
To demonstrate competency in this area the nurse will be observed:
Describes the rationale for a duodenal stent based on the patient's referral.
Clearly identifies precautions required for this procedure and takes apropriate action eg. PPE / Radiological gowns / Imaging signs.
Selects appropriate equipment when requested by Endoscopist eg. Clips, contrast, guidewire, catheter or sphinctertome.
Correctly prepares accessory equipment when requested by Endoscopist eg. Flushes guidewire.
Safely passes accessory equipment items to Endoscopist when requested.
Is observed assisting Endoscopist to position the guidewire eg, uses clips / contrast as required.
Clearly communicates duodenal stent measurements to the Endoscopist prior to opening.
Removes the duodenal stent safely from packaging.
Inpsects the product for any abnormalities to it is ensure suitable for use.
Prepares the selected duodenal stent for insertion over the guidewire eg. Removes metal tags
Is observed placing tension on the guidewire to assist with positioning of the duodenal stent.
Is observed deploying the stent, if requested by the Endoscopist, communicating actions.
Completes all stent documentation as per DHB policy.
Disposes of all equipment as per DHB policy.
Witness Initial

## Botox Injection
Direct Observation of Practice | Date:
Botulium Injection | I/S/XI/A/M/D | Comment/Review
To demonstrate competency in this area the nurse will be observed:
Describes the rationale for botulium injections based on the patient's referral.
Selects the correct medication and equipment.
Is observed completing the 5 'Rights' steps.
Identifies side effects and contraindications of botulium medication.
Safely prepares the botulium injection according to DHB protocol.
Removes the injection needle safely from the packaging.
Inspects the product for any abnormalities to ensure it is suitable for use.
Adjusts the needle length if requested by the Endoscopist.
Ensures the needle extends and retracts smoothly into the outer sheath prior to use.
Prepares equipment correctly eg. Attaches luer lok and primes needle.
Safely passes the injection needle to the Endoscopist.
Follows the Endoscopist's instructions to : extend needle
inject solution
retract needle
Clearly communicates actions to the Endoscopist throughout the procedure.
Safely removes the injection needle from the endoscope.
Completes required documentation eg. Medication chart
Disposes of all equipment as per DHB policy.
Witness Initial

## Glue Injection
Direct Observation of Practice | Date:
Sclerotherapy | I/S/XI/A/M/D | Comment/Review
To demonstrate competency in this area the nurse will be observed:
Describes the rationale for sclerotherapy based on the patient's referral.
Selects the appropriate equipment when requested by the Endoscopist eg. Lipiodol & injector
Safely prepares the sclerotherapy injection as per DHB policy.
Safely removes the injection needle from the packaging.
Inspects the product for any abnormalities to ensure it is suitable for use.
Adjusts the needle to the required length if requested by the Endoscopist.
Ensures the needle extends and retracts smoothly into the outer sheath prior to use.
Prepares equipment correctly eg. Attaches luer lok and primes needle.
Safely passes the injection needle to the Endoscopist.
Follows the Endoscopist's instructions to : extend needle
Inject solution
Retract needle
Clearly communicates actions to the Endoscopist throughout the procedure.
Safely removes the injection needle from the endoscope.
Disposes of all equipment as per DHB policy.
Witness Initial

## Polyloop
Direct Observation of Practice | Date:
Polyloop | I/S/XI/A/M/D | Comment/Review
To demonstrate competency in this area the nurse will be observed:
Describes the rationale for using a polyloop.
Selects the appropriate equipment when requested by Endoscopist.
Removes the equipment safely from packaging.
Inspects the product for any abnormalities to it is ensure suitable for use.
Correctly prepares the polyloop for use eg. Re-sheaths the loop by pushing 'yellow' stopper forward (away from handle).
Safely passes the equipment to the Endoscopist.
Operates the Polyloop when instructed by the Endoscopist eg. un-sheaths the loop by pulling the 'yellow' stopper back toward the handle.
Uses clear communication to assist the Endoscopist to position the Polyloop over the gastric polyp.
Deploys the Polyloop on instruction from the Endoscopist eg. slowly tightens the loop until the sheath is against the polyp, communicating actions continuously.
Is observed alternating 'tightening' around the polyp by 'pulling' the handle and slider back and 'pulling' the yellow stopper back, communicating actions continuously.
Describes what will occur as a result of this action eg. The polyp 'blanches' indicating positioning has been successful.
Is observed detaching the Polyloop by opening the handle fully, when instructed by the Endoscopist.
Disposes of all equipment safely as per DHB policy.
Witness Initial

## OTSC
Direct Observation of Practice | Date:
Over The Scope Clip (OTSC) | I/S/XI/A/M/D | Comment/Review
To demonstrate competency in this area the nurse will be observed:
Describes the rationale for using an OTSC.
Locates appropriate equipment eg. Correct size for oesophagus / endoscope
Safely removes equipment from the packaging.
Inpsects the product for any abnormalities to it is ensure suitable for use.
Correctly assembles the OTSC as per manufacturers instruction / DHB guidelines.
Is observed inserting the 'hand wheel' into the accessory channel of the endoscope and attaches velcro strap.
Is observed using grasping forceps to collect the 'trigger' cord from the accessory channel and threading it up and through the 'hand wheel'.
Is observed placing the 'trigger' cord into the 'wheel handle' gap and removes the slack.
Correctly fits the applicator cap snuggly on the end of the endoscope.
Correctly tightens the 'trigger' cord until gentle tension is felt.
On completion of the procedure, safely removes all equipment from the endoscope.
Disposes of all equipment as per DHB policy.
Witness Initial

## Reloading OTSC
Direct Observation of Practice | Date:
Re-loading an Over The Scope Clip (OTSC) | I/S/XI/A/M/D | Comment/Review
To demonstrate competency in this area the nurse will be observed:
Locates appropriate equipment eg. Correct size for oesophagus / endoscope
Safely removes equipment from the packaging.
Inpsects the product for any abnormalities to it is ensure suitable for use.
Correctly assembles the reloader as per manufacturers instruction / DHB guidelines.
On completion of the procedure, safely removes all equipment from the endoscope.
Disposes of all equipment as per DHB policy.
Witness Initial

## EMR-Duette
Direct Observation of Practice | Date:
Endoscopic Mucosal Resection (EMR) - Duette | I/S/XI/A/M/D | Comment/Review
To demonstrate competency in this area the nurse will be observed:
Describe the rationale for using the EMR technique.
Selects the appropriate equipment when requested by endoscopist eg. Duette kit + disposable accessories
Removes the equipment safely from packaging.
Inspects the product for any abnormalities to ensure it is suitable for use.
Tests the equipment prior to use following manufacturer / DHB guidelines.
Prepares solution for injection as per DHB policy eg. Methylene Blue solution
Prepares syringe for injection as per DHB policy. eg. 9mls methylene blue solution + 1ml adrenaline = 10ml syringe.
Prepares injector with solution for injection as requested by the Endoscopist.
Correctly attaches ligator handle to endoscope eg. Removes biopsy button and inserts ligator into channel
Correctly prepares the loading catheter and attaches the trigger cord for use.
Correctly attaches the bander to the tip of the endoscope to optimise views and prepares for use.
Safely passes the equipment to the Endoscopist with awareness of safety issues.
Correctly operates the injector when requested by endoscopist and clearly communicates actions.
Ensures needle is re-sheathed prior to retracting into the endoscope.
Identifies when tissue ligation has occurred and safely passes diathermy 'snare' to Endoscopist.
Ensures patient has no known diathermy risks and has a diathermy plate in correct location eg. Thigh
Attaches the correct diathermy cable and selects the correct / mode setting on the diathermy machine.
Communicates diathermy settings to Endoscopist.
Operates diathermy snare as instructed by Endoscopist and clearly communicates actions.
Demonstrates knowledge on tissue collection.
Safely removes equipment from the endoscope demonstrating an awareness of potential hazards.
Disposes of all equipment as per DHB policy.
Witness Initial

## Focal Ablation - HALO
Direct Observation of Practice | Date:
HALO 90-360 | I/S/XI/A/M/D | Comment/Review
To demonstrate competency in this area the nurse will be observed:
Describe the rationale for focal ablation based on the patient's referral.
Describe the contraindications for focal ablation (5 examples).
Outlines the precautions required when using focal ablation and appropriate actions to reduce risk eg. Cardiac implants, previous oesophageal surgery, strictures or ulceration.
Selects the appropriate equipment when requested by endoscopist eg. HALO 90 or 360 Catheter.
Describes the difference between HALO 90 and 360 catheters.
Safely prepares accessory equipment as required eg. N-Acetyl cysteine / 20ml slip tip syringes / sterile water / diposable EMR cap for HALO 360.
Removes the equipment safely from packaging.
Inspects the product for any abnormalities to ensure it is suitable for use.
Tests the equipment prior to use following manufacturer / DHB guidelines.
Safely prepares ablation generator and tests prior to use eg. Selects correct energy density
Safely passes the Endoscopist the ablation catheter when requested eg. Ensures cable is disconnected to prevent accidental burning on intubation.
Identifies how many burns have been delivered and communicates information to Endoscopist.
Safely disconnects ablation cable to remove equipment from patient / endoscope.
Safely cleans ablation catheter with appropriate solution (sterile water) and prepares for second treatment if required.
Identifies how many full segment burns can be undertaken in one session and decribes the rationale for this eg. Maximum of two.
Safely disposes of all equipment as per DHB policy.
Outlines complications post procedure and postprocedural care.
Describes medications appropriate to relieve posr procedural pain eg. Anti-secretory medications, IV paracetamol and IV anti-emetics.
Provides appropriate discharge information for the patient.
Witness Initial

## EUS
Direct Observation of Practice | Date:
Endoscopic Ultrasound (EUS) | I/S/XI/A/M/D | Comment/Review
To demonstrate competency in this area the nurse will be observed:
Describe the rationale for using the EUS technique.
Selects the appropriate equipment when requested by endoscopist eg. Correct EUS endoscope (linear or radial) and accessories.
Correctly prepares EUS processor following manufactuer / DHB guidelines.
Removes the equipment safely from packaging.
Inspects the product for any abnormalities to ensure it is suitable for use.
Tests the equipment prior to use following manufacturer / DHB guidelines.
Correctly prepares the endoscope with imaging balloon.
Test the imaging balloon prior to use.
Safely removes equipment from the endoscope demonstrating an awareness of potential hazards.
Disposes of all equipment as per DHB policy.
Witness Initial

## Single Balloon Enteroscopy
Direct Observation of Practice | Date:
Single Balloon Enteroscopy | I/S/XI/A/M/D | Comment/Review
To demonstrate competency in this area the nurse will be observed:
Describes the rationale for undertaking a single balloon enteroscopy.
Selects the appropriate equipment when requested by the Endoscopist eg. Single Balloon Splinting Tube, Sterile Water, Syringe and Inflation Pump.
Removes the equipment safely from the packaging.
Inspects the product for any abnormalities to ensure suitable for use.
Correctly prepares the SBE for use eg. Lubricates the inner channel of the SB tube with sterile H2O / prepares inflation processor / attaches control cover.
Safely passes the equipment / endoscope to the Endoscopist.
Is observed assisting the Endoscopist eg. Holds splinting tube in place whilst Endoscopist advances endoscope.
Safely removes the splinting tube from the endoscope.
Disposes of all equipment as per DHB policy.
Cleans the inflation processor as per DHB policy.
Witness Initial

## Oesophageal Varix Treatment
Direct Observation of Practice | Date:
Oesophageal Varix Treatment - Linton Nachlas tube | I/S/XI/A/M/D | Comment/Review
To demonstrate competency in this area the nurse will be observed:
Describe the rationale for inserting a Linton Nachlas Tube based on the patient's referral.
Identifies additional equipment that is required prior procedure eg. Image intensifier
Identifies and wears appropriate PPE required for the procedure eg. Radiological aprons.
Selects appropriate equipment when requested by endoscopist eg. 50ml slip tip and catheter syringes
Removes equipment safely from the packaging.
Inspects the product for any abnormalities to ensure suitable for use.
Safely passes the equipment to the Endoscopist when requested.
Clearly identifies the inflation catheter eg. 50ml leur slip tip syringe.
Safely attaches artery forceps to inflation catheter.
Clearly identifies the aspiration catheter eg. 50ml catheter tip syringe.
Correctly attaches low pressure suction to aspirate lumen.
Clearly communicates actions to the Endoscopist throughout the procedure.
Disposes of all equipment as per DHB policy.
Witness Initial