## Front page
LOWER ENDOSCOPY
Directly Observed Practical Skills:
1 | Pre Procedure
2 | Intra procedure
3 | Post procedure
4 | Diathermy
5 | Specimen Collection - Strip Biopsy
6 | Standard Polypectomy
7 | Injecting Polyps - Saline
8 | Tattooing
9 | Endoscopic Mucosal Resection (EMR)
10 | Dilatation - Balloon
11 | Decompression Tube
12 | Haemorrhoid Banding / Injection
13 | Colonic Stenting
Name:
Position:
Date Commenced:
Date Completed:

## Competency Score
This scoring system will be used when assessing all competencies for your practice within the unit
The rating scale has been adapted from Bondy (1983) and MidCentral District Health Board New Zealand Adult Respiratory Nursing Knowledge and Skills Framework (2010). The criteria for clinical evaluation cluster into three areas: standards of procedure, quality of performance and level of assistance required. Additionally, six descriptive levels of competency are identified: independent, supervised, not directly observed but confident in description and demonstration, assisted, marginal and dependant.
Scale label | Score | Standard of procedure | Quality of performance | Assistance level required
Independent (I) | 5 | Safe | Proficient | No supporting cues required
|  | Accurate | Co-ordinated
|  | Effect - Achieved intended outcome | Confident
|  | Affect - Behaviour is appropriate to intended outcome | Expedient timeframe
Supervised (S) | 4 | Safe | Proficient | Requires occasional supporting cues
|  | Accurate | Co-ordinated
|  | Effect - Achieved intended outcome | Confident
|  | Affect - Behaviour is appropriate to intended outcome | Within a reasonable time period
Not directly observed but independent (XI) | 4 | Effect - Confident will achieve intended outcome in practical situation | Confident description of practical application | No supporting cues required
Proficient demonstrate with practice equipment
|  | Affect - Demonstrated behaviour appropriate to intended outcome in practical situation | Expedient timeframe
Assisted (A) | 3 | Safe | Proficient when assisted
|  | Accurate | Inefficient at times | Required frequent verbal cues
|  | Effect - Achieved most objectives for intended outcome | Unco-ordinated at times | Occasional physical directive cues
|  | Affect - Behaviour generally appropriate to context | Within a delayed time period | Some supportive cues
Marginal (M) | 2 | Safe only with guidance | Unskilled
|  | Not completely accurate | Inefficient | Required continuous verbal cues
|  | Effect - incomplete achievement of intended outcome | Unco-ordinated | Required frequent physical cues
|  | Affect - behaviour generally inappropriate to context | Prolonged time period
Dependent (D) | 1 | Effect - unsafe
|  | Affect - unable to demonstrate behaviour | Unable to demonstrate procedure/behaviour | Required continuous verbal cues
|  | Lack of insight into behaviour appropriate to context | Lacks confidence, coordination, efficiency | Required physical directive cues
*Recognition of prior learning: Certificates, demonstrations oral presentations may be used as evidence.

## Assessment
Lower Endoscopy - Directly Observed Practical Skills Assessment
|  | Date | Competency Score | Staff Signature | Assessor Signature | Comment
1 | Pre Procedure
2 | Intra procedure
3 | Post procedure
4 | Diathermy
5 | Specimen Collection - Strip Biopsy
6 | Standard Polypectomy
7 | Injecting Polyps - Saline
8 | Tattooing
9 | Endoscopic Mucosal Resection (EMR)
10 | Dilatation - Balloon
11 | Decompression Tube
12 | Haemorrhoid Banding / Injection
13 | Colonic Stenting
Review Date:
Item number (1-14):
New competency score:
Staff Signature:
Assessor Signature:

## Booklet
Direct Observation of Practice | Date:
Pre-Procedure (procedure room) | I/S/XI/A/M/D | Comment/Review
To demonstrate competency in this area the nurse will:
Check the scheduled endoscopy list and prepare the procedure room accordingly.
Correctly select and prepare the endoscope required for a colonoscopy procedure demonstrating an awareness of health and safety issues eg. wearing gloves and provide a rationale for actions.
Describe the functions of each of the valves of the endoscope.
Describe the functions of each of the channels of the endoscope.
Demonstrate the necessary endoscope checks that need to be carried out before it is used eg. suction, blow, flush, white balance.
Check all accessory equipment is available, operational and prepared for use eg. suction, oxygen, flushing pump, Co2 machine, diathermy unit and electronic reporting system.
Explain what medications are required for the scheduled endoscopy list and prepare according to DHB policy:
Intravenous: Miadzolam, Fentanyl, Pethidine, Atropine, Buscopan.
Others: Simethicone, CO2
Describe the side effects and contraindications of each medication above.
Correctly prepare and label the medications for each endoscopy procedure.
Identify which reversal agents may be required during the procedure.
Describe the side effects and contraindications of these reversal agents.
Identify the location of the reversal agents in the procedure room.
Identify additonal drugs that must be readily available in the room and explain why and how they are used. eg. Adrenaline.
Describe the side effects and contraindications of these emergency medications.
Identify the documentation required for the endoscopy procedure and check all documentation is with the patient prior commencing the procedure eg. consent, completed pre procedure checklist.
Identify any risk factors for the patient pre-procedure and discuss what action you would take to manage this risk in each situation eg. Anticoagulant or anti-platelet therapy, pacemaker or internal cardiac defibrillator or metal joint.
Be observed initiating and undertaking the correct 'time-out' process prior procedure as per DHB policy.
Identify the patient monitoring required and explain the rationale for it.
Be observed correctly attaching patient monitoring devices.
Be observed correctly positioning a patient for a lower endoscopy procedure.
Witness Initial
Direct Observation of Practice | Date:
Intra-Procedure (procedure room) | I/S/XI/A/M/D | Comment/Review
To demonstrate competency in this area the nurse will:
Identify which therapuetic tools may be required for a diagnostic procedure and prepare accordingly eg. snare, injector, clip.
Demonstrate completion of the 'time-out' process and documents clearly on the Intra-Procedural Record.
Demonstrates correct documentation of the procedural medication on the Intra-Procedural Record as per legislated requirements.
Identifies which vital signs must be taken during the procedure and explains the rationale for this.
Identifies the frequency of vital observations during the procedure and provides rationale for this.
Demonstrates accurate documentation of vital signs, oxygen delivery and consciousness level on the Intra-Procedural Record eg. EWS, sedation score.
Is observed communicating any changes in vital signs to the Endoscopist.
Is observed providing appropriate reassurance to the patient during the procedure.
Is observed assessing the patient's comfort level during the procedure and provides the rationale for undertaking this assessment.
Demonstrates accurate documentation of the patient's comfort score on the Intra-Procedural Record as per DHB policy.
Is observed communicating any changes in the patient's comfort score to the endoscopist, followed by appropriate action as per DHB policy eg. Withdrawal of consent policy.
Identifies which specimen containers are required for a diagnostic procedure eg. Biopsy.
Demonstrates operation of 'cold' and 'hot' biopsy forceps and awareness of health and safety and infection control issues eg. rinsing formalin / scatter of bowel fluid.
Is observed labelling the specimens correctly as per DHB policy.
Witness Initial
Direct Observation of Practice | Date:
Post - Procedure (procedure room) | I/S/XI/A/M/D | Comment/Review
To demonstrate competency in this area the nurse will:
Disposes of the biopsy forceps in accordance with DHB policy.
Is observed removing excess biofilm from the endoscope post procedure as per DHB policy.
Explains and demonstrates the necessary steps required before removing the scope from the processor and correctly transporting to re-processing area as per DHB policy.
Is observed diposing of intravenous medications as per DHB policy and documenting actions correctly.
Is observed completing Intra-Proceural Record and other relevant documentation as per DHB policy before transferring the patient to the recovery area.
Is observed cleaning the top of the procedural trolley with the appropriate solution prior to next patient.
Explains what disposable items may be required for the next procedure and prepares them up accordingly.
Is observed correctly setting up the endoscope, showing an awareness of health and safety issues eg. handling with gloves
Explains and demonstrates the necessary checks and balances that need to be carried out before the endoscope is used.
Prepares medications for next patient and labels correcty as per DHB policy.
Witness Initial
Direct Observation of Practice | Date:
Diathermy / Hot Biopsy | I/S/XI/A/M/D | Comment/Review
To demonstrate competency in this area the nurse will:
Explain how diathermy works.
Be observed setting up the diathermy machine, including adjusting the settings to suit the type of procedure eg. hot biopsy.
Carry out the necessary safety checks on the diathermy prior to use on the patient eg. identifying risk factors such as pacemaker, ICD, metal joints.
Decribe the actions you would take if the patient has either a pacemaker, ICD or metal joint and the rationale for those actions.
Be observed placing the patient plate in the correct location on the patient and identifying any factors that may affect conduction and the action they would take to address this.
Be observed correctly attaching the accessory to the diathermy machine and explaining how the hot biospy forcep works.
Describe factors to be aware of when using hot biopsy forceps eg. thermal injury, right or left side of the colon.
Be observed placing biopsy specimens in the appropriate container.
Be observed labelling the specimen correctly
Be observed disposing of the hot biopsy forceps in accordance with DHB policy
Witness Initial
Direct Observation of Practice | Date:
Specimen Collection - Strip Bx | I/S/XI/A/M/D | Comment/Review
To demonstrate competency in this the nurse will be able to:
Identify when strip biopsies are to occur and outline the rationale for strip biopsies eg. multiple random biospies / IBD / cost.
Select appropriate equipment when requested by endoscopist.
Prepare equipment correctly eg. millipore strip cut the correct way
Remove biopsy forceps safely from packaging.
Inspect the product for any abnormalities to ensure suitable for use.
Safely pass the equipment to the Endoscopist.
Demonstrates correct operation of 'cold' biopsy forceps and awareness of health and safety and infection control issues eg. rinsing formalin / scatter of bowel fluid.
Places specimens on the millipore strip correctly as per DHB policy.
Is observed labelling the specimens correctly as per DHB policy.
Disposes of equipment as per DHB guidelines.
Witness Initial
Direct Observation of Practice | Date:
Standard Polypectomy | I/S/XI/A/M/D | Comment/Review
To demonstrate competency in this the nurse will be observed:
Describes rationale for polypectomy.
Selects appropriate equipment when requested by endoscopist eg. snare type (standard or spiral) and can describe a scenario when each would be used.
Removes equipment safely from packaging.
Inspects the product for any abnormalities to ensure suitable for use.
Prepares diathermy equipment for polypectomy eg. selects appropriate setting for procedure.
Checks relevant cables are in correct position eg. monopolar or bipolar and foot pedal.
Checks patient documentation for any diathermy risks eg. metal joints or pacemaker or internal cardiac defibrillator.
Describes what action they would take to reduce the risk to patient for each sceanrio eg. Magnet or reposition of patient plate.
Correctly identifies and places patient plate on the patient.
Can describe alternative patient plate sites and describe when these may be used.
Ensures all relevant cables are connected and the diathermy machine is ready to proceed eg. Nessy is green.
Confirms diathermy setting with Endoscopist prior to proceeding with polypectomy.
Safely passes equipment to the Endoscopist and connects for use.
Correctly operates the snare when requested by the Endoscopist and verbalises actions clearly eg. 'open' and 'close'
Is observed correctly assembling the specimen trap for collection of polyp.
Is observed correctly connecting and disconnecting the specimen trap from the endoscope pre and post polypectomy.
Is observed transferring polyp into appropriate specimen medium for further tissue examination at the laboratory.
Describes health and safety precautions associated with specimen collection.
Describes infection control precautions associated with specimen collection.
Correctly completes all documentation associated with specimen collection eg. Specimen pot labeled with correct patient NHI.
Disposes of all equipment as per DHB guidelines.
Witness Initial
Direct Observation of Practice | Date:
Injection of Polyps - Saline | I/S/XI/A/M/D | Comment/Review
To demonstrate competency in this the nurse will be observed:
Describe the rationale for injecting a polyp.
Selects the appropriate equipment when requested by the Endoscopist eg. Injector
Removes the equipment safely from packaging.
Inspects the product for any abnormalities to ensure it is suitable for use.
Tests injector to ensure it is operational prior to use eg. Move needle 'in' and 'out' of sheath.
Prepares syringe with appropriate solution to raise polyp eg. Normal Saline 0.9%.
Describes why Normal Saline 0.9% is use to raise the polyp eg. diffuses out of mucosa.
Safely passes the equipment to the Endoscopist with awareness of safety issues.
Operates the injector correctly when requested by endoscopist and clearly communicates actions eg. 'in' and 'out'.
Disposes of all equipment as per DHB policy.
Witness Initial
Direct Observation of Practice | Date:
Tattooing | I/S/XI/A/M/D | Comment/Review
To demonstrate competency in this the nurse will be observed:
Describe the rationale for tattooing a specific area in the colon.
Locate and identifies the appropriate equipment for tattooing eg. injector, solution.
Removes the equipment safely from package when requested by endoscopist.
Inspects the product for any abnormalities to ensure it is suitable for use.
Test the injector and prepares for tattooing eg. moves needle in and out of sheath.
Assembles tattoo ink syringe as per instructions.
Identifies with the Endoscopist whether they require a saline 'pillow' prior to tattoo injection.
Prepares the injector following the Endoscopist's instructions eg. primes injector with saline or ink to the tip of the needle.
Safely passes the injector to the Endoscopist.
Follows the Endoscopist's instructions to inject saline / ink into mucosa, moving the needle in and out of sheath and explains the rationale for this action.
Disposes of equipment as per DHB guidelines.
Witness Initial
Direct Observation of Practice | Date:
Endoscopic Mucosal Resection (EMR) | I/S/XI/A/M/D | Comment/Review
To demonstrate competency in this the nurse will be observed:
Describe the rationale for an Endoscopic Mucosal Resection (EMR) based on the patient's referral.
Identify which equipment may be required to undertake EMR.
Prepares Methylene Blue solution for injection as per DHB policy.
Selects appropriate equipment when requested by endoscopist.
Removes equipment safely from package.
Inspects product for any abnormalities to ensure it is suitable for use.
Tests injector and prepares for EMR eg. moves needle in and out of sheath.
Prepares 10mL syringe for injection as per DHB policy eg. 9 mLs methylene blue solution:1mL adrenaline.
Prepares the injector following the Endoscopist's instructions eg. primes injector with methylene blue / adrenaline solution to the tip of the needle.
Safely passes the prepared injector to the Endoscopist for insertion into biopsy channel eg. Needle inside sheath.
Follows the Endoscopist's instructions to inject methylene blue / adrenaline solution into the mucosa, moving the needle in and out of sheath and explains the rationale for this action.
Clearly communicates actions to Endoscopist eg. 1mL injected.
Prepares diathermy equipment for procedure eg. selects appropriate diathermy setting.
Checks relevant cables are in correct position eg. monopolar or bipolar and foot pedal.
Checks patient documentation for any diathermy risks eg. metal joints or pacemaker or internal cardiac defibrillator.
Describes what action they would take to reduce the risk to patient for each sceanrio eg. Magnet or reposition of patient plate.
Correctly identifies and places patient plate on the patient.
Can describe alternative patient plate sites and describe when these may be used.
Safely passes the appropriate snare to the Endoscopist and connects it for use.
Correctly operates the snare when requested by the Endoscopist and verbalises actions clearly eg. 'open' and 'close'
Collects specimens removed for further examination in the laboratory as per DHB policy.
Clearly documents actions on patient procedural documentation record.
Describe the possible complications post EMR and appropirate actions taken.
Disposes of all equipment as per DHB guidelines.
Witness Initial
Direct Observation of Practice | Date:
Dilatation - Balloon | I/S/XI/A/M/D | Comment/Review
To demonstrate competency in this the nurse will be observed:
Describe the rationale for balloon dilatation as per patient's referral.
Select the appropriate equipment for the procedure.
Remove the products safely from packaging when instructed by Endoscopist.
Inspect the products for any abnormalities to ensure they are suitable for use.
Fill syringe with appropriate medium for dilatation eg. Water, and correctly assemble for use.
Safely pass the dilatation balloon to the Endoscopist. Note: guidewire may be used with a colonic stricture.
Assist the Endoscopist to advance the dilatation balloon into position eg. Over guidewire.
Communicate different inflation pressure (PSI) settings to the Endoscopist prior to use.
Inflate the dilatation balloon to pressure (PSI) requested by the Endoscopist and clearly communicate actions.
Deflate the dilatation balloon when requested the the Endoscopist.
Safely dismantle equipment.
Dispose of the dilatation balloon catheter and guidewire as per DHB guidelines.
Clean inflation gun after use as per DHB guielines.
Witness Initial
Direct Observation of Practice | Date:
Decompression Tube | I/S/XI/A/M/D | Comment/Review
To demonstrate competency in this the nurse will be observed:
Describe the rationale for the use of a Decompression tube.
Select appropriate equipment when requested by endoscopist.
Removing equipment safely from package.
Inspect the product for any abnormalities to ensure it is suitable for use.
Ensure any additional equipment is available i.e grasping forceps.
Option 1: Correctly prepare guidewire and pass it to Endoscopist with the plastic introducer tip in biopsy bung to assist with introduction to therapuetic channel of endoscope.
Safely pass the Decompression tube to the Endoscopist when requested.
Assist the Endoscopist to withdraw the endoscope ensuring the Decompression tube remains in position.
Remove the guidewire from Decompression tube.
Secure the Decomprerssion tube in place.
Dispose of all used equipment as per DHB guidelines.
Option 2: Assist Endoscopist to thread suture material through the end of the Decompression tube and knot.
When instructured by Endoscopist, introduce 'Rats tooth' forcep to biopsy channel of endoscope and grasp the suture knot at the end of the Decompression tube.
Clearly maintains grasp on the suture knot as the Endoscopist 'railroads' the Decompression tube alonside the endoscope.
Clearly releases grasp on suture knot when instructured by Endoscopist and applies slight forward pressure to maintain position as Endoscopist removes the endoscope.
Appropriately secures the Decomprerssion tube in place.
Disposes of all used equipment as per DHB guidelines.
Witness Initial
Direct Observation of Practice | Date:
Haemorrhoid Banding | I/S/XI/A/M/D | Comment/Review
To demonstrate competency in this area the nurse will:
Describe the rationale for haemorrhoid banding.
Selects the appropriate equipment as requested by the Endoscopist.
Safely removes the Haemorrhoid banding kit from packaging and follows DHB policy / guidelines for product tracing of disposable equipment.
Inspects the product for any abnormailities to ensure it is suitable for use.
Correctly assembles the proctoscope for use.
Correctly assembles the haemorrhoid ligator.
Safely passess the equipment to the Endoscopist.
Assists with the deployment of haemorrhoid bands as instructed by the Endosopist and clearly communicates actions throughout this process.
Demonstrates re-loading of haemorrhoid bands if required.
Completes all documentation associated with the procedure as per DHB policy.
Disposes of the equipment as per DHB policy.
Witness Initial
Direct Observation of Practice | Date:
Colonic Stenting | I/S/XI/A/M/D | Comment/Review
To demonstrate competency in this the nurse will be observed:
Describe the rationale for a colonic stent based on the patient's referral.
Identify the colonic stents available in the DHB and outline the difference between each product.
Prepare for colonic stent for insertion eg. Sterile water, sterile bowl, radiopaque contrast, sphinctertome or tandem XL cannula, guidewire 0.35 (SS).
Ensure that radiopaque contrast has been prepared and labelled correctly as per DHB policy.
Ensure that all the equipment has been safely transported to the procedure room (if required) and the procedural room has been set up correctly eg. x-ray signs on the doors.
Outline precautions required pre colonic stent insertion and ensure all staff are wearing appropriate Personal Protective Equipment (PPE) for colonic stent insertion eg. radiological lead gowns and personal dosimetry badges.
Outline other precautions required pre colonic stent insertion and check patient documentation as per DHB policy eg. contrast allergy, INR level.
Identifies and selects appropriate equipment when requested by endoscopist.
Safely removes equipment from packaging and follows DHB policy / guidelines for product tracing of disposable equipment.
Inspects the product for any abnormalities to ensure it is suitable for use.
Prepares equipment required for cannulation of strictue eg. spinctertome, cannula, radiopaque contrast.
Assists with the identification of the colonic stricture and position of the guidewire on x-ray.
Prepares the colonic stent for use eg. locked in place / primed with radiopaque contrast.
Can describe the mechanism used for deploying the colonic stent.
Places back tension on the guidewire to assist the Endoscopist with stent insertion / placement.
Identifies the position of the colonic stent on x-ray through the stricture.
Injects with radiopaque contrast as directed by the Endoscopist.
Deploys the colonic stent in a controlled manner, as directed, communicating with the endoscopist throughout the process.
Completes all documentation associated with the insertion of a metal stent as per DHB policy.
Disposes of the equipment as per DHB policy.
Witness Initial

## Pre Procedure
Direct Observation of Practice | Date:
Pre-Procedure (procedure room) | I/S/XI/A/M/D | Comment/Review
To demonstrate competency in this area the nurse will:
Check the scheduled endoscopy list and prepare the procedure room accordingly.
Correctly select and prepare the endoscope required for a colonoscopy procedure demonstrating an awareness of health and safety issues eg. wearing gloves and provide a rationale for actions.
Describe the functions of each of the valves of the endoscope.
Describe the functions of each of the channels of the endoscope.
Demonstrate the necessary endoscope checks that need to be carried out before it is used eg. suction, blow, flush, white balance.
Check all accessory equipment is available, operational and prepared for use eg. suction, oxygen, flushing pump, Co2 machine, diathermy unit and electronic reporting system.
Explain what medications are required for the scheduled endoscopy list and prepare according to DHB policy:
Intravenous: Miadzolam, Fentanyl, Pethidine, Atropine, Buscopan.
Others: Simethicone, CO2
Describe the side effects and contraindications of each medication above.
Correctly prepare and label the medications for each endoscopy procedure.
Identify which reversal agents may be required during the procedure.
Describe the side effects and contraindications of these reversal agents.
Identify the location of the reversal agents in the procedure room.
Identify additonal drugs that must be readily available in the room and explain why and how they are used. eg. Adrenaline.
Describe the side effects and contraindications of these emergency medications.
Identify the documentation required for the endoscopy procedure and check all documentation is with the patient prior commencing the procedure eg. consent, completed pre procedure checklist.
Identify any risk factors for the patient pre-procedure and discuss what action you would take to manage this risk in each situation eg. Anticoagulant or anti-platelet therapy, pacemaker or internal cardiac defibrillator or metal joint.
Be observed initiating and undertaking the correct 'time-out' process prior procedure as per DHB policy.
Identify the patient monitoring required and explain the rationale for it.
Be observed correctly attaching patient monitoring devices.
Be observed correctly positioning a patient for a lower endoscopy procedure.
Witness Initial

## Intra procedure
Direct Observation of Practice | Date:
Intra-Procedure (procedure room) | I/S/XI/A/M/D | Comment/Review
To demonstrate competency in this area the nurse will:
Identify which therapuetic tools may be required for a diagnostic procedure and prepare accordingly eg. snare, injector, clip.
Demonstrate completion of the 'time-out' process and documents clearly on the Intra-Procedural Record.
Demonstrates correct documentation of the procedural medication on the Intra-Procedural Record as per legislated requirements.
Identifies which vital signs must be taken during the procedure and explains the rationale for this.
Identifies the frequency of vital observations during the procedure and provides rationale for this.
Demonstrates accurate documentation of vital signs, oxygen delivery and consciousness level on the Intra-Procedural Record eg. EWS, sedation score.
Is observed communicating any changes in vital signs to the Endoscopist.
Is observed providing appropriate reassurance to the patient during the procedure.
Is observed assessing the patient's comfort level during the procedure and provides the rationale for undertaking this assessment.
Demonstrates accurate documentation of the patient's comfort score on the Intra-Procedural Record as per DHB policy.
Is observed communicating any changes in the patient's comfort score to the endoscopist, followed by appropriate action as per DHB policy eg. Withdrawal of consent policy.
Identifies which specimen containers are required for a diagnostic procedure eg. Biopsy.
Demonstrates operation of 'cold' and 'hot' biopsy forceps and awareness of health and safety and infection control issues eg. rinsing formalin / scatter of bowel fluid.
Is observed labelling the specimens correctly as per DHB policy.
Witness Initial

## Post procedure
Direct Observation of Practice | Date:
Post - Procedure (procedure room) | I/S/XI/A/M/D | Comment/Review
To demonstrate competency in this area the nurse will:
Disposes of the biopsy forceps in accordance with DHB policy.
Is observed removing excess biofilm from the endoscope post procedure as per DHB policy.
Explains and demonstrates the necessary steps required before removing the scope from the processor and correctly transporting to re-processing area as per DHB policy.
Is observed diposing of intravenous medications as per DHB policy and documenting actions correctly.
Is observed completing Intra-Proceural Record and other relevant documentation as per DHB policy before transferring the patient to the recovery area.
Is observed cleaning the top of the procedural trolley with the appropriate solution prior to next patient.
Explains what disposable items may be required for the next procedure and prepares them up accordingly.
Is observed correctly setting up the endoscope, showing an awareness of health and safety issues eg. handling with gloves
Explains and demonstrates the necessary checks and balances that need to be carried out before the endoscope is used.
Prepares medications for next patient and labels correcty as per DHB policy.
Witness Initial

## Diathermy
Direct Observation of Practice | Date:
Diathermy / Hot Biopsy | I/S/XI/A/M/D | Comment/Review
To demonstrate competency in this area the nurse will:
Explain how diathermy works.
Be observed setting up the diathermy machine, including adjusting the settings to suit the type of procedure eg. hot biopsy.
Carry out the necessary safety checks on the diathermy prior to use on the patient eg. identifying risk factors such as pacemaker, ICD, metal joints.
Decribe the actions you would take if the patient has either a pacemaker, ICD or metal joint and the rationale for those actions.
Be observed placing the patient plate in the correct location on the patient and identifying any factors that may affect conduction and the action they would take to address this.
Be observed correctly attaching the accessory to the diathermy machine and explaining how the hot biospy forcep works.
Describe factors to be aware of when using hot biopsy forceps eg. thermal injury, right or left side of the colon.
Be observed placing biopsy specimens in the appropriate container.
Be observed labelling the specimen correctly
Be observed disposing of the hot biopsy forceps in accordance with DHB policy
Witness Initial

## Specimen Collection - Strip Bx
Direct Observation of Practice | Date:
Specimen Collection - Strip Bx | I/S/XI/A/M/D | Comment/Review
To demonstrate competency in this the nurse will be able to:
Identify when strip biopsies are to occur and outline the rationale for strip biopsies eg. multiple random biospies / IBD / cost.
Select appropriate equipment when requested by endoscopist.
Prepare equipment correctly eg. millipore strip cut the correct way
Remove biopsy forceps safely from packaging.
Inspect the product for any abnormalities to ensure suitable for use.
Safely pass the equipment to the Endoscopist.
Demonstrates correct operation of 'cold' biopsy forceps and awareness of health and safety and infection control issues eg. rinsing formalin / scatter of bowel fluid.
Places specimens on the millipore strip correctly as per DHB policy.
Is observed labelling the specimens correctly as per DHB policy.
Disposes of equipment as per DHB guidelines.
Witness Initial

## Standard Polypectomy
Direct Observation of Practice | Date:
Standard Polypectomy | I/S/XI/A/M/D | Comment/Review
To demonstrate competency in this the nurse will be observed:
Describes rationale for polypectomy.
Selects appropriate equipment when requested by endoscopist eg. snare type (standard or spiral).
Removes equipment safely from packaging.
Inspects the product for any abnormalities to ensure suitable for use.
Prepares diathermy equipment for polypectomy eg. selects appropriate setting for procedure.
Checks relevant cables are in correct position eg. monopolar or bipolar and foot pedal.
Checks patient documentation for any diathermy risks eg. metal joints or pacemaker or internal cardiac defibrillator.
Describes what action they would take to reduce the risk to patient for each sceanrio eg. Magnet or reposition of patient plate.
Correctly identifies and places patient plate on the patient.
Can describe alternative patient plate sites and describe when these may be used.
Ensures all relevant cables are connected and the diathermy machine is ready to proceed eg. Nessy is green.
Confirms diathermy setting with Endoscopist prior to proceeding with polypectomy.
Safely passes equipment to the Endoscopist and connects for use.
Correctly operates the snare when requested by the Endoscopist and verbalises actions clearly eg. 'open' and 'close'
Is observed correctly assembling the specimen trap for collection of polyp.
Is observed correctly connecting and disconnecting the specimen trap from the endoscope pre and post polypectomy.
Is observed transferring polyp into appropriate specimen medium for further tissue examination at the laboratory.
Describes health and safety precautions associated with specimen collection.
Describes infection control precautions associated with specimen collection.
Correctly completes all documentation associated with specimen collection eg. Specimen pot labeled with correct patient NHI.
Disposes of all equipment as per DHB guidelines.
Witness Initial

## Injection of Polyps - Saline
Direct Observation of Practice | Date:
Injection of Polyps - Saline | I/S/XI/A/M/D | Comment/Review
To demonstrate competency in this the nurse will be observed:
Describe the rationale for injecting a polyp.
Selects the appropriate equipment when requested by the Endoscopist eg. Injector
Removes the equipment safely from packaging.
Inspects the product for any abnormalities to ensure it is suitable for use.
Tests injector to ensure it is operational prior to use eg. Move needle 'in' and 'out' of sheath.
Prepares syringe with appropriate solution to raise polyp eg. Normal Saline 0.9%.
Describes why Normal Saline 0.9% is use to raise the polyp eg. diffuses out of mucosa
Safely passes the equipment to the Endoscopist with awareness of safety issues.
Operates the injector correctly when requested by endoscopist and clearly communicates actions eg. 'in' and 'out'.
Dispose of all equipment as per hospital guidelines.
Witness Initial

## Tattooing
Direct Observation of Practice | Date:
Tattooing | I/S/XI/A/M/D | Comment/Review
To demonstrate competency in this the nurse will be observed:
Describe the rationale for tattooing a specific area in the colon.
Locate and identifies the appropriate equipment for tattooing eg. injector, solution.
Removes the equipment safely from package when requested by endoscopist.
Inspects the product for any abnormalities to ensure it is suitable for use.
Test the injector and prepares for tattooing eg. moves needle in and out of sheath.
Assembles tattoo ink syringe as per instructions.
Identifies with the Endoscopist whether they require a saline 'pillow' prior to tattoo injection.
Prepares the injector following the Endoscopist's instructions eg. primes injector with saline or ink to the tip of the needle.
Safely passes the injector to the Endoscopist.
Follows the Endoscopist's instructions to inject saline / ink into mucosa, moving the needle in and out of sheath and explains the rationale for this action.
Disposes of equipment as per DHB guidelines.
Witness Initial

## Endoscopic Mucosal Rescetion
Direct Observation of Practice | Date:
Endoscopic Mucosal Resection (EMR) | I/S/XI/A/M/D | Comment/Review
To demonstrate competency in this the nurse will be observed:
Describe the rationale for an Endoscopic Mucosal Resection (EMR) based on the patient's referral.
Identify which equipment may be required to undertake EMR.
Prepares Methylene Blue solution for injection as per DHB policy.
Selects appropriate equipment when requested by endoscopist.
Removes equipment safely from package.
Inspects product for any abnormalities to ensure it is suitable for use.
Tests injector and prepares for EMR eg. moves needle in and out of sheath.
Prepares 10mL syringe for injection as per DHB policy eg. 9 mLs methylene blue solution:1mL adrenaline.
Prepares the injector following the Endoscopist's instructions eg. primes injector with methylene blue / adrenaline solution to the tip of the needle.
Safely passes the prepared injector to the Endoscopist for insertion into biopsy channel eg. Needle inside sheath.
Follows the Endoscopist's instructions to inject methylene blue / adrenaline solution into the mucosa, moving the needle in and out of sheath and explains the rationale for this action.
Clearly communicates actions to Endoscopist eg. 1mL injected.
Prepares diathermy equipment for procedure eg. selects appropriate diathermy setting.
Checks relevant cables are in correct position eg. monopolar or bipolar and foot pedal.
Checks patient documentation for any diathermy risks eg. metal joints or pacemaker or internal cardiac defibrillator.
Describes what action they would take to reduce the risk to patient for each sceanrio eg. Magnet or reposition of patient plate.
Correctly identifies and places patient plate on the patient.
Can describe alternative patient plate sites and describe when these may be used.
Safely passes the appropriate snare to the Endoscopist and connects it for use.
Correctly operates the snare when requested by the Endoscopist and verbalises actions clearly eg. 'open' and 'close'
Collects specimens removed for further examination in the laboratory as per DHB policy.
Clearly documents actions on patient procedural documentation record.
Describe the possible complications post EMR and appropirate actions taken.
Disposes of all equipment as per DHB guidelines.
Witness Initial

## Dilatation - Balloon
Direct Observation of Practice | Date:
Dilatation - Balloon | I/S/XI/A/M/D | Comment/Review
To demonstrate competency in this the nurse will be observed:
Describe the rationale for balloon dilatation as per patient's referral.
Select the appropriate equipment for the procedure.
Remove the products safely from packaging when instructed by Endoscopist.
Inspect the products for any abnormalities to ensure they are suitable for use.
Fill syringe with appropriate medium for dilatation eg. Water, and correctly assemble for use.
Safely pass the dilatation balloon to the Endoscopist. Note: guidewire may be used with a colonic stricture.
Assist the Endoscopist to advance the dilatation balloon into position eg. Over guidewire.
Communicate different inflation pressure (PSI) settings to the Endoscopist prior to use.
Inflate the dilatation balloon to pressure (PSI) requested by the Endoscopist and clearly communicate actions.
Deflate the dilatation balloon when requested the the Endoscopist.
Safely dismantle equipment.
Dispose of the dilatation balloon catheter and guidewire as per DHB guidelines.
Clean inflation gun after use as per DHB guielines.
Witness Initial

## Decompression Tube
Direct Observation of Practice | Date:
Decompression Tube | I/S/XI/A/M/D | Comment/Review
To demonstrate competency in this the nurse will be observed:
Describe the rationale for the use of a Decompression tube.
Select appropriate equipment when requested by endoscopist.
Removing equipment safely from package.
Inspect the product for any abnormalities to ensure it is suitable for use.
Ensure any additional equipment is available i.e grasping forceps.
Option 1: Correctly prepare guidewire and pass it to Endoscopist with the plastic introducer tip in biopsy bung to assist with introduction to therapuetic channel of endoscope.
Safely pass the Decompression tube to the Endoscopist when requested.
Assist the Endoscopist to withdraw the endoscope ensuring the Decompression tube remains in position.
Remove the guidewire from Decompression tube.
Secure the Decomprerssion tube in place.
Dispose of all used equipment as per DHB guidelines.
Option 2: Assist Endoscopist to thread suture material through the end of the Decompression tube and knot.
When instructured by Endoscopist, introduce 'Rats tooth' forcep to biopsy channel of endoscope and grasp the suture knot at the end of the Decompression tube.
Clearly maintains grasp on the suture knot as the Endoscopist 'railroads' the Decompression tube alonside the endoscope.
Clearly releases grasp on suture knot when instructured by Endoscopist and applies slight forward pressure to maintain position as Endoscopist removes the endoscope.
Appropriately secures the Decomprerssion tube in place.
Disposes of all used equipment as per DHB guidelines.
Witness Initial

## Haemorroid Banding
Direct Observation of Practice | Date:
Haemorrhoid Banding | I/S/XI/A/M/D | Comment/Review
To demonstrate competency in this area the nurse will:
Describe the rationale for haemorrhoid banding.
Selects the appropriate equipment as requested by the Endoscopist.
Safely removes the Haemorrhoid banding kit from packaging and follows DHB policy / guidelines for product tracing of disposable equipment.
Inspects the product for any abnormailities to ensure it is suitable for use.
Correctly assembles the proctoscope for use.
Correctly assembles the haemorrhoid ligator.
Safely passess the equipment to the Endoscopist.
Assists with the deployment of haemorrhoid bands as instructed by the Endosopist and clearly communicates actions throughout this process.
Demonstrates re-loading of haemorrhoid bands if required.
Completes all documentation associated with the procedure as per DHB policy.
Disposes of the equipment as per DHB policy.
Witness Initial

## Colonic Stenting
Direct Observation of Practice | Date:
Colonic Stenting | I/S/XI/A/M/D | Comment/Review
To demonstrate competency in this the nurse will be observed:
Describe the rationale for a colonic stent based on the patient's referral.
Identify the colonic stents available in the DHB and outline the difference between each product.
Prepare for colonic stent for insertion eg. Sterile water, sterile bowl, radiopaque contrast, sphinctertome or tandem XL cannula, guidewire 0.35 (SS).
Ensure that radiopaque contrast has been prepared and labelled correctly as per DHB policy.
Ensure that all the equipment has been safely transported to the procedure room (if required) and the procedural room has been set up correctly eg. x-ray signs on the doors.
Outline precautions required pre colonic stent insertion and ensure all staff are wearing appropriate Personal Protective Equipment (PPE) for colonic stent insertion eg. radiological lead gowns and personal dosimetry badges.
Outline other precautions required pre colonic stent insertion and check patient documentation as per DHB policy eg. contrast allergy, INR level.
Identifies and selects appropriate equipment when requested by endoscopist.
Safely removes equipment from packaging and follows DHB policy / guidelines for product tracing of disposable equipment.
Inspects the product for any abnormalities to ensure it is suitable for use.
Prepares equipment required for cannulation of strictue eg. spinctertome, cannula, radiopaque contrast.
Assists with the identification of the colonic stricture and position of the guidewire on x-ray.
Prepares the colonic stent for use eg. locked in place / primed with radiopaque contrast.
Can describe the mechanism used for deploying the colonic stent.
Places back tension on the guidewire to assist the Endoscopist with stent insertion / placement.
Identifies the position of the colonic stent on x-ray through the stricture.
Injects with radiopaque contrast as directed by the Endoscopist.
Deploys the colonic stent in a controlled manner, as directed, communicating with the endoscopist throughout the process.
Completes all documentation associated with the insertion of a metal stent as per DHB policy.
Disposes of the equipment as per DHB policy.
Witness Initial